## Slide 1: Towards Green Aware Computing at Indiana University
Gregor von Laszewski
laszewski@gmail.com
Indiana University
Pervasive Technology Institute

## Slide 2: What is Green IT?
Green IT also referred as Green computing is a study and practice of using computing resources in an efficient manner such that its impact on the environment is as less hazardous as possible.
  least amount of hazardous materials are used
  computing resources are used efficiently in terms of energy and to promote recyclability
http://en.wikipedia.org/wiki/Green_computing

## Slide 3: Motivation
Cost:
  A supercomputer with 360-Tflops with conventional processors requires 20 MW to operate, which is approximately equal to the sum of 22,000 US households power consumption
  Servers consume 0.5 percent of the world’s total electricity usage
  Energy usage will quadruple by 2020
  The total estimated energy bill for data centers in 2010 is $11.5 billion
Reliability:
  Every 10C increase of temperature leads to a doubling of the system failure rate
Environment:
  A typical desktop computer consumes 200-300W of power
  This results in emission of about 220Kg of CO2/annum
  Data Centers produce 170 million metric tons of CO2 worldwide currently per year
  670 million metric tons of CO2 are expected to be emitted by data centers worldwide annually by 2020
Utilization
  32 percent of all servers are running at or below 3 percent peak and average utilizations, wasting energy spinning and cooling, and doing virtually no work.

## Slide 4: A Typical Google Search
Google spends about 0.0003 kWh per search
  1 kilo-watt-hour (kWh) of electricity = 7.12 x 10-4 metric tons CO2 = 0.712 kg or 712g of CO2
  => 213mg CO2 emitted
The number of Google searches worldwide amounts to 200-500 million per day.
  total carbon emitted per day:
  = 500 million x 0.000213 kg per search = 106500kg or 106.5 metric ton
Source: http://prsmruti.rediffiland.com/blogs/2009/01/19/How-much-cabondioxide-CO2-emitted.html
Notes: ref:
http://www.globus.org/grid_software/security/voms.php – globus alliance ... basic definition
http://vdt.cs.wisc.edu/components/voms.html – virtual data toolkit (osg) – grid middleware
http://edg-wp2.web.cern.ch/edg-wp2/security/voms/voms.html – (datagrid)

## Slide 5: Where is power used in Data Centers?
Data center uses large amount of electricity for 3 main components:
  IT Equipment
  Cooling
  Power Delivery
Power Usage Effectiveness (PUE)
  PUE = Total Facility Power/IT Equipment Power

## Slide 6: Result
Evaluate Metrics carefully
A Datacenter with PUE close to 1 does not mean it produces the fewest CO2

## Slide 7: So what can we do?

## Slide 8: GreenIT Taxonomy
We are actively developing a Taxonomy
Helps assessing where to focus research activities
Will be resulting in
  What to Monitor?
  What Software?
  Which Services?
  What to Optimize?
  At what cost ($,CO2,perf)?

## Slide 9: Green Aware Computing
Hardware
Processor
Software
Behavior
Environment
Building
Disk
HVAC
Education
Shutdown
Migration
Rack design
GPGPU
GreenSaaS/SaaI
Policies
Scheduling
People
(Metrics)

## Slide 10: Research methodology
Performance metrics
  Power consumption, CO2, …
Resource operation
  Virtual machine migration
  Smart cooling system operation
  Server consolidation
  & power management
“Green” infrastructure
  Low power & high density computing resource
  Virtualized infrastructure
“Green” service & middleware
  Auditing & insertion system
  Power aware task scheduling
  Temperature aware workload placement
“Green” application support environment
  SDKs and APIs for energy aware programming
  Interfaces for “green” performance tuning
Green Application
support environment
Green
service & middleware
Green Infrastructure
Operation
Metrics

## Slide 11: END