# Explanations and Discussion of the revised paper

# Referee 1

Here are a few minor suggestions.

(1) In the abstract they say "...with spectral resolution between 400 and 1000 nm." They mean

spectral coverage, not spectral resolution, which could refer to the bandwidth of the filters employed but not to the total wavelength range sampled.

The term has been modified as suggested.

(2) Starting in the introduction and continuing in several places, they use the word "spectra" when they really mean "images obtained at different wavelengths". The set of these images is not a spectrum.  Every use of the word "spectral" or "spectra" in the paper should be examined with this in mind and appropriately corrected.

I have carefully read and evaluate the term “spectra” used in the paper.  Most of them have been corrected as suggested by the referee excepted for a few those are appropriately used.

(3) Just before section 2 they use the word "lenses" when they mean "filters".

I have corrected the mistake.

(4) The discussion of Spectral Angle Classification should be improved.  They use the phrase "associated pixel vectors X and Y" with no definition of  what X and Y are.

The definition of Vector X and Y has been added.

(5) to deal with the fact that the transmission of the individual filters must vary from filter to filter and the sensitivity of the CCD detectors must vary as a function of wavelength and pixel in the detector array. Do they calibrate this or otherwise allow for it? Is this a significant source of error/uncertainty?

The multi-spectral image stream used in the experiment is indeed calibrated.  The calibration technique used is a standard calibration for video image (White balance).  I have not mentioned it in the original draft because I think the calibration is assumed and it is not a part of our algorithm.

A paragraph has been added to summarize the wavelength calibration technique (in Example of Image Processing section).

Referee 2

All the changes suggested are English related (Grammar and typo).  Every suggestion has been incorporate to the paper

[Suggestions:

- Presentation Changes End of abstract: Grammar: "for a specified cost, what system can should be ...." ??

- Section 1, paragraph 1: [Li et al. 1995)]: remove the ) bracket

- End of Section 1: Grammar: "Designer lenses can be built to suite the optical needs of specific applications can be fitted to the system": Remove 'can be' after 'lenses' ?

- Beginning of  Section 2: "This strategy employ a manager" : change to employs?

- Section 2 (just before Figure 3): ".... subsequent image cubes in an multi-spectral image stream" :  change 'an' to 'a'

- "..relatively independent, groups workers: one group ...."  should read 'groups of workers'?

- End of Section 2: "we follow the work Boynton": should this read '.... the work of  Boynton'??

- "The color matching function T is an n-by-3 matrix where each column….." Replace 'an' with 'a', in front of 'n-by-3'.

- Section 3, third sentence: 'different' : should be 'difference'

- Section 3, second paragraph: "Figure 7 .....composite images generating using the ...."  generated'?

- Paragraph after Figure 8:  " The weighting factor ....., and To can be obtained ...."  To requires subscript for the o.

- The remainder of the sentence structure should perhaps be modified to:  "..through a sequence of regression tests and least-square fitting.  The values are listed below"?

]