ETMSP SUN/SUN OS Version 3.1

Introduction

The ETMSP interactive package consists of the main simulation

program (ETMSP) and the Output Analysis Program (OAP).

The entire data set required for simulation is highly complex

and hence is divided into different files.  Data preparation and

simulation control are accomplished through an interactive

session.  For instance, most common dynamic model data,

simulation specification data, and output analysis specification

data can be entered interactively.  On-line editing (adding,

removing or changing) of data is another feature of this

program.  Recording and playback facilities are also available

for repetitive runs.  Context sensitive on-line help is

available to guide the user through various commands.

The Output Analysis Program for ETMSP (OAP) is a self-contained

interactive program designed to work with binary output files

generated by the ETMSP simulation program.  Plotting information

is based solely on the channel file created by the simulation

program.  Contents of the channels can be selectively extracted

and displayed if necessary so references to the simulation runs

are not normally required.  Because OAP is independent of the

simulation runs, several simulation cases can be plotted and

analyzed.  The OAP has 2 modes of operation, (i) a command

driven mode for experienced users, and (ii) a menu driven mode

for occasional user.

The ETMSP version 3.1 has the following enhancements over the

previous version:

+    Load Flow data input in PSF version 2.1 format

+    Bus handling capabilities

+    Update of excitation system models to conform to IEEE standard 421.5-1992

+    Direct input and output of dynamic data in PTI DYNDA format

+    Dynamic data export

+    Enhancements of FACTS models

+    HVDC modeling modifications

+    Unified Power Flow Controller model (UPFC)

+    Changes to PSAPAC dynamic data format

+    Crowbar Models

+    OAP Enhancements

For details on these and other features, please refer to the

ETMSP User's Manual.

The distribution tapes have been prepared by EPSC from materials

supplied by the developer, Power Tech Labs Inc., Vancouver, and

the EPRI Electrical Systems Division. EPRI's copyright

attachment has been included in every source routine.  The EPRI

Project Manager for ETMSP Version 3.1 is Dr. Peter Hirsch.  He

can be reached at (415) 855-2206.

EPSC is a service organization operated by Power Computing

Company (PCC) for EPRI.

Notes on testing at EPSC

1.   Test Computer            	   		: SUN4/260

2.   Operating System              		: SUN OS R.4.1.1

3.   Test Compiler                 		: FORTRAN 77 Compiler Ver.1.3.1

4.   Programming Language          		: FORTRAN 77

5.   Installation dependent requirements     	: None

6.   Commercial support            		: None

packages required

7.   Relation to other EPRI packages    	: None

Support:

For installation related support call Electric Power Software

Center at (214)655-8883.

For technical support call EPRI's Central Hotline at 1-800-225-

3357.

Contents of the distribution tape

The cartridge contains the entire Extended Transient/Mid-term

Stability program (ETMSP) and the Output Analysis Program (OAP)

packages consisting of the installation guide, source code,

executables, the command files required to compile the programs,

the input data files and the reference output files against

which outputs obtained during testing can be compared for

correct functioning of the programs.

The DC 600 cartridge tape was created using the tar command.

After the tape has been successfully restored, the program

package will have the following directory structure:

The main directory is etmsp31 which has three subdirectories -

etmsp, oap and test and one file guide.doc containing the

installation instructions.

The directory $home/etmsp31/etmsp contains:

+  480 FORTRAN (*.for) files and 144 include (*.ins) files.

EPRI's copyright attachment is included with each of these

files.

+  480 object (*.o) files

+  Executable for the ETMSP program - etmsp.exe

+  makefile to compile and link the program - makefile

The directory $home/etmsp31/oap contains:

+  65 FORTRAN (*.for) files

+    4 C (*.c) files

+    13 include (*.INS) files

+    69 object (*.o) files

+    5 header files (*.h)

+    Executable for the X11 based OAP program - xoap

+    makefile to compile and link the program - makefile

The directory $home/etmsp31/test has two subdirectories case1k

and case450

The sub-directory case1k contains all the input files required

to test ETMSP and OAP programs using the 1000 bus system.  It

also contains the reference output files which can  be used to

verify the correct functioning of the two programs.  The files

in the subdirectory case1k are:

case1000.psf             Load flow file in PSF binary format

case1000.dat             Dynamic data file in PSAPAC format

case1000.rec             ETMSP playback file

s_case1000.dat      	 Switching specification file

o_case1000.dat      	 Output specification file

case1000.resref          ASCII result file from ETMSP

case1000.msgref          Message report file from ETMSP

case1000.prgref          Progress report file from ETMSP

The sub-directory case450 contains all the input files required

to test ETMSP and OAP programs using the 450 bus system.  It

also contains the reference output files which can  be used to

verify the correct functioning of the two programs.

The files in the subdirectory case450 are:

case450.psf              Load flow file in PSF Binary format.

case450.dat              Dynamic data file in BPA(OLD) format

case450.rec              ETMSP playback file

o_case450.dat            Output specification file

s_case450.dat            Switching specification file

case450.prgref           Progress report file from ETMSP

case450.msgref      	 Message report file from ETMSP

case450.resref           ASCII result file from ETMSP

Please note that ETMSP program runs produce binary output files.

These files have not been included in the tape.

Installation and Testing

The contents of the tape can be copied to the disk using the tar

command.  A sample set of instructions to accomplish this is

given below.

Sample commands to unload the tape

Example:

tar xvf /dev/rmt0

Please note that the device name for your tape drive may be

different from the one used in the example.  Please use the

appropriate device name on your system.

II. Compiling the programs

The executables for ETMSP and OAP have been provided on the

distribution tape.  However, the OAP program may not work

correctly on your system and may need to be recompiled.  To

recompile the programs, first edit the appropriate command file

to reflect the correct userid and directory.  For example, to

re-compile the ETMSP program, change to the directory and then

type,

make

This will create a new object files and a new executable

etmsp.exe.

To recompile OAP, the user should first modify two include files

to set the default printers and fonts according to the system

environment.  Find and change the following code (shown in bold

italics) in PlotX-PS.h and X3d_PS.h to the system dependent

printer/font names:

#define DEFAULT_FONT "-adobe-courier-bold-r-normal--12-120-75-75-m-70-*-1"

#define LOGO_FONT "-adobe-helvetica-bold-r-normal--14-140-75-75-p-82-*-1"

#define PRNTER1 "q2000ps1"

#define PRNTER2 "amssps1"

#define PRNTER3 "imagps"

After installation, the user has an option to override the

default setting by providing a file, ITOAP.INI, in the user's

home directory to reset the default printers and fonts.  A

sample of ITOAP.INI is given below.

logo_font -adobe-helvetica-bold-r-normal--14-140-75-75-p-82-*-1

default_font -adobe-courier-bold-r-normal--12-120-75-75-m-70-*-1

postscript_printer_1 amssps1

postscript_printer_2 amssps2

postscript_printer_3 imagps

Note that each line consists of a keyword (bolded) followed by

the parameter to override the default setting.  User only has to

enter the parameter that needs to be changed.

To re-compile OAP, type

make xoap

Please note that the makefile may need to be modified to reflect

the correct path for the X11 libraries.

III. Executing the test cases for ETMSP

There are two test cases provided - case450 and case1k.  For

each case, ETMSP should be executed first and then OAP may be

executed.  Please note that OAP uses the binary output file

obtained from a successful ETMSP run.

The input files for 450 bus case

case450.psf              Load flow file in PSF Binary format.

case450.dat              Dynamic data file in BPA(OLD) format

case450.rec              ETMSP playback file

o_case450.dat            Output specification file

s_case450.dat            Switching specification file

To execute this test case, invoke the program from the directory

in which the input files exist.

$home/etmsp31/etmsp/etmsp.exe

The program banner is first displayed and then the program

prompts the user for an output file name without extension.  For

this example, type

case450

Now, the program opens the following output files:

case450.bin              Binary result file used as input by OAP

case450.prg              Progress report file

case450.msg              Message report file

case450.res              ASCII result file

when the program prompt returns, type

playb

This command allows the user to playback a pre-recorded file

containing responses to program prompts.  The program will

prompt for record file name.  At this prompt, enter the

appropriate record file name which in this case is

case450.rec

From this point, the program will pick up command input from the

record file and run to completion.  The same procedure may be

used for the 1000 bus case as well.

IV. Executing the test cases for OAP

The procedure to execute OAP (line printer version) using the

binary result file for 450 bus case is described below.  The

same procedure may be used to run the 1000 bus test case as

well.

First invoke the OAP program from the directory in which the

binary result file exists.  For example

$home/etmsp31/oap/oap.exe

When the program banner comes up and the prompt appears, first

open a channel file (binary file produced by ETMSP) by typing

openc

The program prompts for the file name.  For the 450 bus case,

type

case450.bin

After the file has been opened and the prompt returns, type

getc

to read in a channel.  There are several channels available, but

for this test, use channel 11 which is the generator terminal

voltage at a specified bus.  When the program prompts for

channel number, type in

11

followed by

F

At this point the program reads the channel information.  Now

you may plot, by typing

gpplot

This should bring up a plot of the specified quantity.  When you

are ready to quit the program, click on the "continue" field on

the plot.  You may now return to the OAP screen, and type

quit

This ends the session.  This is a sample session suggested by

the vendor.  The program is interactive and further information

on its various features can be found in the user's manual.

After the test cases have been executed, the result files

obtained may be compared against the corresponding reference

files provided.  For example, to compare the simulation result

file of the 450 bus case against the reference file, use

diff case450.res case450.resref

9